## Slide 1: Axion Particle Dark Matter April Meeting of the APS April 16, 2013
Leslie J Rosenberg
University of Washington

## Slide 2: What’s an axion? (1) The “QCD Axion”
There’s something disturbing about the Standard Model:
The Standard Model violates P and CP, we expect QCD to violate P and CP, yet QCD does not.
For instance, Why doesn’t the neutron have an electric dipole moment?
This leads to the “Strong CP Problem”: Where did QCD CP violation go?
1977: Peccei and Quinn: Apply Higgs-like physics to the problem:
Posit a hidden broken U(1) symmetry 
1) A new Goldstone boson (the axion);
2) Remnant axion VEV nulls QCD CP violation.
Peccei & Quinn receive 2013 Sakurai Prize for this elegant idea.
θQCD < 10-9

## Slide 3: What’s an axion? (2)
A. Nelson

## Slide 4: What’s an axion? (3) Summary properties

## Slide 5: Recap: Axions and dark matter
Key properties of “vanilla” dark matter:
Feeble interactions with normal matter and radiation (“dark…”);
Gravitational interactions (“…matter”);
Long-lived (around today);
Cold (slow-moving in the early universe);
Low mass axions are an ideal dark matter candidate:
Long-lived: WIMP via conserved quantum number, axion is very light.
Cold: WIMP massive, axions produced non-thermally.
No solid observational evidence for one scenario over the other: choice is a bias.
Plus…
The axion mass is constrained to 1 or 2 orders-of-magnitude;
Some axion couplings are constrained to 1 order-of-magnitude;
The axion is doubly-well motivated…it solves 2 big problems
(a sharp Occam’s razor).

## Slide 6: Selected limits on dark-matter axion masses and couplings
SN1987A
Focus on:
RF-cavity
Solar
Laser

## Slide 7: RF-cavity experiments. RF-cavity experiments exploit the axion’s 2-photon coupling
The axion couples (very weakly, indeed) to normal particles.
(meV-mass axions would live around 1050 seconds.)
I happens that the axion’s 2g coupling has relatively little axion-model dependence
Axions constituting our local galactic halo would have huge number density ~1014 cm-3
gagg

## Slide 8: RF-cavity axion search: Dark-matter axions and electromagnetic fields exchange energy
The search speed is
quadratic in 1/Ts

## Slide 9: ADMX: Axion Dark-Matter eXperiment
Magnet with insert
Magnet cryostat
U. of Washington, LLNL, U. of Florida, U.C. Berkeley,
National Radio Astronomy Observatory,
U. of Virginia, Sheffield U., Yale U.

## Slide 10: ADMX hardware
High-Q microwave cavity
Experiment insert

## Slide 11: Breakthrough: Quantum-limited SQUID-based microwave amplification
SQUIDs have been measured with TN ~ 50 mK
Near quantum– limited noise
This provides the enormous increase in ADMX sensitivity

## Slide 12: Converted microwave photons are detected by the world’s quietest radio receiver
Systematics-limited for signals of <10-26 W
~10-3 of “DFSZ” axion power (<1/100 yoctoWatt).

## Slide 13: What would an axion signal look like in ADMX?

## Slide 14: Expected ADMX sensitivity with dilution-refrigerator cooling
Dilution-refrigerator cooled detectors allow scanning at or below DFSZ sensitivity at fractional dark-matter halo density.
This defines a “definitive” QCD dark-matter axion search

## Slide 15: Can the RF-cavity experiments do better? Higher frequencies, higher Q, squeezed states? Active R&D paths.
higher-frequency
quantum-limited SQUIDs
“hybrid” superconducting
cavities (Yale group)
new amplifier technologies

## Slide 16: ADMX “Gen 3”: Higher frequency

## Slide 17: ADMX “Gen 3”: Lower frequency
16Apr13 LJR 17

## Slide 18: CAST: CERN Axion Solar Telescope. Searching for axions produced in the Sun.
0
2
4
6
8
10
E
(keV)
0
2
×
10
14
4
×
10
14
6
×
10
14
8
×
10
14
m
c
-
2
c
e
s
-
1
V
e
k
-
1
Axions from the sun become x-rays inside a
spare LHC dipole magnet
16Apr13 LJR 18

## Slide 19: CAST Technology
State-of-the-art x-ray detection borrowed from astrophysics
Micromegas
x-ray camera
Grazing-incidence
x-ray optics

## Slide 20: CAST Search Range
They are conceptualizing IAXO: a next-generation helioscope.
Larger magnetic field volume
Better x-ray optics.
Lower backgrounds.

## Slide 21: Helioscope Futurism

## Slide 22: Laser Axion Searches
e.g., GammeV at FNAL

## Slide 23: Laser Axion Searches: Sensitivity
GammeV at FNAL

## Slide 24: Laser axion search: future experiments
Add pair of phase-locked, high finesse optical cavities
Sensitivity would be about that from astrophysical
bounds (red giant, white dwarf, solar)

## Slide 25: Laser futurism (1): REAPR at FNAL

## Slide 26: Laser futurism (2): ALPS-II at DESY

## Slide 27: An Experimental Scenario: Focus on Three Key Technologies
cavity: next year
cavity: 3-year
cavity: challenging
helioscope: current
helioscope: 10-year
Laser: current
Laser: locked FP

## Slide 28: Theory challenges going forward (1) include
e.g, White dwarfs:
Can we better understand their cooling?
Isern et al., 2012

## Slide 29: Theory challenges going forward (2) include
Gamma ray propagation:
e.g., Can we better understand gamma-ray absorption?

## Slide 30: Theory challenges going forward (3) include
Axion Bose-condensates & structure
Is the dark matter a Bose condensate? Does it matter?
Isern et al., 2010
E.g.,
look where a ring would be
in our galaxy
Skyview virtual observatory
Nararajan & Sikivie, 2005

## Slide 31: Conclusions (1)
Listen to Nature:
We’re keeping our eye on the LHC and WIMP detectors.
The jury is certainly still out, but if SUSY-WIMPs remain
undetected, you might want to look harder at axions.

## Slide 32: Conclusions (2)
On the other hand, some say, LHC finding
SUSY may strongly suggest axion dark matter.
H. Baer

## Slide 33: Overall Conclusions
Axions: A very compelling dark-matter candidate.
The QCD dark-matter axion is well bounded in mass and couplings.
The dark-matter axion focus is 1-100 μeV axion masses.
There are many search techniques, but the RF-cavity one is most sensitive.
ADMX is largest and most mature; several others are on the horizon.
The next several years will either see a discovery or reject the QCD
dark-matter axion hypothesis.
The space of variant axion (non “QCD”) models is wide open.
Major efforts are underway for solar axions and laser experiments.
And ideas are out there for searching for very low-mass axions
(inspired by string theory and anthropic arguments).
Quite starkly: These experiments have the sensitivity and mass reach to
either detect or rule out QCD dark-matter axions at high confidence.