## Slide 1: Analysis of Hydrokinetic Turbines in Open Channel Flow
Arshiya Hoseyni Chime
Advisor: Professor Phil Malte
UW –NNMREC
04 November 2012

## Slide 2: Irrigation Canals
Approximately 1 MW power loss
Traditional: Sluice gates for flow control
Opportunity: Hydrokinetic turbines for flow control and power generation

## Slide 3: Approach
1-D modeling using conservation of mass, linear momentum and energy equations
3-D CFD modeling
    Volume of Fluid model
    Open Channel Flow Boundary Conditions
  Turbines
    Actuator Disc Model
    Virtual Blade Model
Power generation vs flow control

## Slide 4: 1-D Theory
Drawing courtesy of Dr. Polagye
Turbine

## Slide 5: Effect of Channel Constriction on Water Depth
Decrease in channel width to increase blockage ratio and velocity
Subcritical and supercritical solutions

## Slide 6: Effect of Channel Constriction on Power Generation
Stream Conditions
Flow rate= 130 m3/s
Upstream energy=5.08 m
3 Turbines, each with 4 m diameter
Froude number=0.18-0.24

## Slide 7: CFD-Actuator Disc Model
Fluent14.0
Volume of Fluid Model
Coupled Pseudo-Transient Solver
turbulence model
Porous Media Model to define resistance across the turbine (DP based on 1D theory)
No slip at walls

## Slide 8: Boundary Conditions
Mass flow inlet
Pressure outlet
D=4 m
t= 0.2 m
water
air
30 m
60 m
5 m
2.5 m
132,800 kg/s
50 kg/s
2.5 m

## Slide 9: Free Surface Elevation
Both 1D theory and 3D CFD show a 2% drop in water depth for the 21m case, and a 4% drop for the 16 m case.

## Slide 10: Velocity and Dynamic Pressure Profiles (16m)
Velocity Magnitude [m/s]
Dynamic Pressure [Pa]

## Slide 11: To do …
Supercritical Cases with ADM
Virtual Blade Model in Fluent

## Slide 12: Acknowledgement
Professor Malte
Professor Riley
Dr. Novosselov
Ms. Megan Karalus
Northwest National Marine Renewable Energy Center
Department of Energy