## Slide 1
Information the Might be Useful for the Exam

## Slide 2
Unit conversions and physical properties of water
1 ft3 = 7.48 gal; 1 cfs = 448.8 gpm; 1 hp = 550 ft-lb/s
20oC: r = 998.2 kg/m3 g = 9.79 kN/m3 n = 1.00x10-6 m2/s m = 1.00x10-3 N-s/m2 pvap = 2.34 kPa = 0.00234 atm
60oF: r = 1.94 slug/ft3 g = 62.4 lb/ft3 n = 1.21x10-5 ft2/s m = 2.34x10-5 lb-s/ft2 pvap = 0.256 lb/ft2

## Slide 3
Colebrook Eqn.
Haaland Eqn.
Equations characterizing friction and headloss in turbulent pipe flow:

## Slide 4
Hazen-Williams Eqn for SI units (for BG units, replace 0.849 by 1.318, 10.7 by 4.73, and 0.278 by 0.432):
Headloss equations for equivalent pipes:
Iterative corrections for analysis of pipe networks:

## Slide 5
  Net Positive Suction Head Available (NPSHA): The absolute dynamic head in the pump inlet in excess of the vapor pressure
To a good approximation, for geometrically similar pumps, all are functions of only .
Some useful dimensionless groups for pump similitude:

## Slide 6
For a given pipe:
Some Basic Information Expected to be Known

## Slide 7
Explain some aspect of these diagrams. For example, why do the curves change as they do?; what would happen if a new pump or pipe were added to the system, or if an existing pump were replaced with a similar one with a larger diameter?; etc.

## Slide 8
Typical Exam Questions
Characterize a pipe equivalent to A, B, C, and D.
If an equivalent pipe were identified, and a second pipe parallel to D were then installed, would the length of the equivalent pipe increase, decrease, or not change?

## Slide 9
Given initial guesses of Q and the values of K and n for hL=KQn in each pipe, what would be the correction to the flow in pipe BE?

## Slide 10
Sketch reasonable pump curves and system curves for the above network, for conditions where the upper reservoir is at its (1) highest and (2) lowest levels.

## Slide 11
CP
CP
CH
CQ
h
CH
h
If the conditions in a system with this fixed-speed pump changed so that CQ increased from 0.05 to 0.06, how much would the fluid power change, if at all?