## Slide 1: Well Water Quality 21 Acres

## Slide 2: 21 Acres Location

## Slide 3: On-site water supply at 21 Acres

## Slide 4: Field Assessments
Jessica

## Slide 5: Field run test results for water quality collected 2.23.2010
Sample | Temp (°C) | D.O (mg/L) | D.O. % | Ph | Conductivity (m) | Turbidity (NTU)
Initial 1 - From cistern | 9.8 °C | 2.08 | 19.8 | 7.8 | 373 | 0.68
Initial 2 - From cistern | 10.4 °C | 1.05 | 11.0 | 7.7 | 362 | 0.49
Initial 1 - From well | 10.3 °C | 2.82 | 26.3 | 7.4 | 330 | 2.06
Sample 1 - From well | 10.3 °C | 2.48 | 22.8 | 7.4 | 331 | 0.79
Sample 2 - From well | 10.2 °C | 2.21 | 20.7 | 7.4 | 332 | 0.31
Sample 3 - From well | 10.2 °C | 2.10 | 21.1 | 7.4 | 339 | 0.88
Field run test results for water quality collected 3.2.2010
Sample | Temp (°C) | D.O (mg/L) | D.O. % | Ph | Conductivity (m) | Turbidity (NTU)
Initial 1 - From cistern | 11.5 | 1.37 | 13.3 | 7.6 | 329 | 0.37
Initial 2 - From cistern | 11.4 | 1.77 | 18.1 | 7.6 | 321 | 0.52
Initial 1 - From well | 11.1 | 1.39 | 13.6 | 7.5 | 320 | 0.51
Sample 1 - From well | 10.8 | 1.36 | 12.3 | 7.4 | 320 | 0.27
Sample 2 - From well | 10.8 | 1.76 | 15.7 | 7.3 | 312 | 0.34
Sample 3 - From well | 10 | 1.08 | 9.6 | 7.5 | 323 | 0.46

## Slide 6: Field Assessments
Temperature Results
pH Results
Chart: Temperature (°C)
| Initial-1 | Initial-2 | Well-Initial | Well-1 | Well-2 | Well-3
Test 1 | 9.8 | 10.4 | 10.3 | 10.3 | 10.2 | 10.2
Test 2 | 11.5 | 11.4 | 11.1 | 10.8 | 10.8 | 10
Chart: pH
| Initial-1 | Initial-2 | Well-Initial | Well-1 | Well-2 | Well-3
Test 1 | 7.8 | 7.7 | 7.4 | 7.4 | 7.4 | 7.4
Test 2 | 7.6 | 7.6 | 7.5 | 7.4 | 7.3 | 7.5

## Slide 7: Field Assessments
Dissolved Oxygen Results
Chart: Dissolved Oxygen (mg/L)
| Initial-1 | Initial-2 | Well-Initial | Well-1 | Well-2 | Well-3
Test 1 | 2.08 | 1.05 | 2.82 | 2.48 | 2.21 | 2.1
Test 2 | 1.37 | 1.77 | 1.39 | 1.36 | 1.76 | 1.08
Chart: Dissolved Oxygen (%)
| Initial-1 | Initial-2 | Well-Initial | Well-1 | Well-2 | Well-3
Test 1 | 19.8 | 11 | 26.3 | 22.8 | 20.7 | 21.1
Test 2 | 13.3 | 18.1 | 13.6 | 12.3 | 15.7 | 9.6
Dissolved Oxygen Results

## Slide 8: Field Assessments
Conductivity Results
Turbidity Results
Chart: Conductivity (m)
| Initial-1 | Initial-2 | Well-Initial | Well-1 | Well-2 | Well-3
Test 1 | 373 | 362 | 330 | 331 | 332 | 339
Test 2 | 329 | 321 | 320 | 320 | 312 | 323
Chart: Turbidity (ntu)
| Initial-1 | Initial-2 | Well-Initial | Well-1 | Well-2 | Well-3
Test 1 | 0.68 | 0.49 | 2.06 | 0.79 | 0.31 | 0.88
Test 2 | 0.37 | 0.52 | 0.51 | 0.27 | 0.34 | 0.46

## Slide 9
FECAL COLIFORM
Cheryl

## Slide 10: Fecal Coliform Lab Results for Well Water Quality Collected 2-23 and 3-8 2010
Colony Type | # of colonies from all 4 samples | Volume of all samples | = | Answer | x100 | = | % Density
Fecal coliform 2/23 | 17 | 500 | = | 0.034 | x100 | = | 3.4
E. Coli 2/23 | 4 | 500 | = | 0.008 | x100 | = | 0.8
Fecal coliform 3/8 | 6 | 500 | = | 0.012 | x100 | = | 1.2
E. Coli 3/8 | 5 | 500 | = | 0.01 | x100 | = | 1

## Slide 11
Chart: Fecal coliform and E. coli Density Concentration
| Fecal coliform 2/23 | E. Coli 2/23 | Fecal coliform 3/8 | E. Coli 3/8
% Density | 3.4 | 0.8 | 1.2 | 1

## Slide 12: Nutrients
Maxine

## Slide 13: Nutrient Analysis
Chart: Ammonia Concentration (mg/L)
| NAB 2-23 | NA1 2-23 | NA2 2-23 | NA3 2-23
Ammonia (mg/L) | 0.067803 | 1.3252 | 1.3027 | 1.3209
Chart: Phosphate Concentration (mg/L)
| NAB 2-23 | NA1 2-23 | NA2 2-23 | NA3 2-23
Phosphate (mg/L) | 0.006517 | 1.1383 | 1.1348 | 1.145

## Slide 14: Nutrient Lab Results For Water Quality Collected 2-23-2010
Sample ID | Ammonia (mg/L) | Phiosphate (mg/L) | Nitrate + Nitrite (mg/L)
NAB 2-23 | 0.067803 | 0.006517 | 0.032573
NA1 2-23 | 1.325226 | 1.138331 | 0.103419
NA2 2-23 | 1.30266 | 1.1348 | -0.00828
NA3 2-23 | 1.32085 | 1.14505 | -0.000709
average | 1.316245333 | 1.139393667 | 0.031476667
stdev | 0.011966967 | 0.005206973 | 0.062418783

## Slide 15: Jamie
SUMMARY FOR 21 ACRES IRRIGATION PLAN

## Slide 16: BIS 318 Winter 2010 Jessica Lyn Rider, Cheryl Watts, Jamie Prantil and Maxine Luna
Thank you
Uwb Lab Staff/Equip.
21 acres staff
Team members