ESS 461 Homework     Cosmic Ray Exposure Dating     (Part 3)

Questions On Chemistry Lab Procedures

(1)	Explain why we added precisely measured amounts of Be as a "carrier" to each sample before dissolving it.  There are two main reasons, and at least one minor reason.

(2)	Explain why one "blank" sample, containing no quartz,  is included in the batch and processed through the chemical procedure along with the other samples.

(3)	Mass spectrometry distinguishes charged atoms (ions) by their ratio of mass/charge.  If a beam of singly charged carbon ions (C+) is injected into a mass spectrometer, the ions will be split into two separate beams, each made up of one pure isotope of carbon; 12C+ and 13C+.  However, if the beam also contains some 24Mg2+ ions, these will follow the same path as the12C+ ions, because the ratio of mass to charge for 24Mg2+ (24/2) is the same as the ratio for 12C+ (12/1).  Likewise, molecular (12C14N)2+ ions, with mass/charge = (26/2) would follow the 13C+ ions.

The ions injected into the accelerator for mass spectrometry are Al-, for 26Al/27Al measurements, and BeO- for 10Be/9Be measurements.  In the case of Be isotope measurements, the BeO- ions are broken up into atomic ions, and the 10Be/9Be ratio is ultimately measured on Be3+ ions.  Any elements or molecules that follow the same paths as Al and Be ions through the accelerator interfere with the measurements.  (they swamp the detector, which we have tuned to detect the very rare 10Be or 26Al ions).  What elements must be carefully eliminated in the chemical purification to avoid interferences in the mass spectrometry?  You will need to look at a chemistry text, or a chart of the nuclides (e.g. http://atom.kaeri.re.kr/) to get round-number masses for the common isotopes of potential contaminant elements (Hint:  Notice that we avoided using pyrex glass in the chemistry - Pyrex is a "borosilicate" glass, containing ~10% B by weight).

(4) 	Work through an example calculation to show how we'll determine the concentration of 10Be in a quartz sample once we've measured its 10Be/9Be ratio by accelerator mass spectrometry (AMS).  The table below contains the bottle weighings, sample weights, solution weights and the concentration of Be in the carrier solution we added to the samples.

Now assume that we've carried out the AMS measurement on the first sample (10-PUG-043-GPT) , and found that  10Be/9Be  = 7.7 x 10-14 .  Using the weights listed for this sample below, set out a calculation showing how to determine the concentration of 10Be in the original quartz.  The final concentration will have units of atom 10Be/gram quartz.  You will need to convert grams of Be into atoms, for which you should assume that 1 mol of the 9Be carrier weighs 9.012 g, and 1 mol = 6.022 x 1023 atoms (Avogaddro's number).

| ESS461 cosmogenic Be-10 / Al-26 chemistry |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sample ID | Bottle ID | Wt empty bottle | Wt bottle plus quartz | Wt quartz sample | Wt of added carrier solution | Conc. of Be-9 in carrier solution | Wt Be-9 carrier added |
|  |  | (g) | (g) | (g) | (g) | (microgram Be-9/g carrier sol'n) | (micrograms) |
| BLANK-171 | 250-6 | 59.8489 | 59.8489 |  | 0.6227 | 404.7 |  |
| 08-PUG-043-GPT | 250-7 | 61.3040 | 80.1593 |  | 0.6233 | 404.7 |  |
| 08-PUG-044-GPT | 250-8 | 60.7683 | 79.9088 |  | 0.6225 | 404.7 |  |