CEE 483 Win 2009 Exam 1 Practice Problems
1. (#285) Manganese (Mn) is sometimes present in well water, giving the water an unpleasant taste and color. In a batch experiment, addition of chlorine causes 40% of the Mn to precipitate as a solid in 5 minutes. Assuming that the precipitation reaction is first order (
[image: image1.wmf]1Mn

rkc

=-

), how large would a completely mixed reactor have to be to accomplish 95% precipitation of Mn, if the flow through the reactor was 6.0 m3/min and the reactor was at steady state?

Answer. For a first order reaction in a batch reactor:


[image: image2.wmf]1

dc

rkc

dt

==-



[image: image3.wmf]1

dc

kdt

c

=-



[image: image4.wmf]1

0

ln

t

c

kt

c

=-


From the given information, c5 min = 0.6 c0, so:


[image: image5.wmf](

)

0

1

0

0.6

ln5 min

c

k

c

=-



[image: image6.wmf]1

1

ln0.60.511

0.102 min

5 min5 min

k

-

-

=-=-=


For a first order reaction in a CMR at steady state:


[image: image7.wmf]1

1

in

out

d

c

c

kt

=

+


For 95% precipitation, cout = 0.05 cin, so:


[image: image8.wmf](

)

1

0.05

10.102 min

in

in

d

c

c

t

-

=

+



[image: image9.wmf]1

1

1

0.05

186 min

0.102 min

d

t

-

-

==


The required volume can then be computed as follows:


[image: image10.wmf](

)

33

6 m/min186 min1118 m

d

VQt

===


2. (#108 for 483) In a number of situations, a real reactor might be modeled as a combination of two, linked reactors. For instance, engineered reactors often have zones in corners or along edges that are largely, but not completely, isolated from the core. Consider such a reactor whose total volume is 100 m3. Of this volume, 80 m3 is a well-mixed core zone, and 20 m3 is in a separate zone that is well-mixed itself, but is not thoroughly mixed with the core. A flow of 5 m3/min enters and leaves the reactor through pipes that are in the core zone. The exchange of fluid between the core and secondary zone is at a steady rate of about 0.1 m3/min. A pollutant is present at a concentration of 15 mg/L in the influent to the reactor, and it undergoes a second order decay reaction while in the system, with k2 equal to 0.1 L/mg-min. The system is operating at steady state.

Write mass balance equations describing the concentration of the pollutant in the two parts of the reactor at steady state. Substitute numbers for as many variables as you can; ideally, your final equations will contain c1 and c2 as the only unknowns. You do not need to solve the equations.


[image: image11]
Answer.  For the core reactor:


[image: image12.wmf]1

11211

inout

dc

VQcqcqcQcrV

dt

=-+-+


where V1 and r1 are the volume of water and the reaction rate in the core, respectively. Since the system is at steady state, dc/dt is zero, and since the core part of the reactor is well mixed, cout = c1. Also, r1 is k2c12, so:


[image: image13.wmf](

)

(

)

2

121211

2

112211

0

in

in

QcqcqcQckcV

QccqcckcV

=-+--

=----


Substituting in values:


[image: image14.wmf](

)

(

)

33

32

1121

mmgmL

05 15 0.1 0.1 80 m

minLminmg-min

cccc

æöæö

æö

æö

=----

ç÷ç÷

ç÷

ç÷

èø

èø

èøèø


For the secondary reactor:


[image: image15.wmf]2

21222

dc

VqcqcrV

dt

=-+



[image: image16.wmf](

)

2

12222

2

12222

0

qcqckcV

qcckcV

=--

=--


Substituting in values:


[image: image17.wmf](

)

(

)

3

32

122

mL

00.1 0.1 20 m

minmg-min

ccc

æö

æö

=--

ç÷

ç÷

èø

èø


3. (#284) A city uses a water supply that contains 15 mg/L chloride (Cl) for normal operation, but during periods of high water demand, it blends that water with groundwater containing 65 mg/L Cl. The two waters are mixed thoroughly in a 1400‑m3 reservoir and are then sent into the distribution system. The demand has been ~500 m3/d for many days, and all the water has come from the main supply. Then, the demand increases to 700 m3/d, and the additional 200 m3/d is drawn from the groundwater supply. How long can this operating strategy continue before the water entering the distribution system contains ≥20 mg/L Cl? (Note: chloride is non-reactive and can be treated as a tracer.)

Answer. A mass balance on Cl in the reservoir starting at the time that the groundwater enters is as follows:


[image: image18.wmf](

)

112212

out

dc

VQcQcQQcrV

dt

=+-++


where c1 and c2 are the Cl concentrations in the main supply and the groundwater, respectively. Because Cl is non-reactive, r = 0; also, because the reservoir is well mixed, cout is the same as c of the water in the reservoir. Therefore, substituting in known values, we can write:


[image: image19.wmf](

)

112212

dc

VQcQcQQc

dt

=+-+



[image: image20.wmf](

)

333

3

mmgmmgm

1400 m5001520065700

dLdLd

dc

c

dt

æöæöæö

æöæö

=+-

ç÷ç÷ç÷

ç÷ç÷

èøèø

èøèøèø



[image: image21.wmf]33

mmgm

20500700

dLd

c

=-



[image: image22.wmf]20 mg/L

33

3

015 mg/L

1

mmgm

1400 m

20500700

dLd

t

dc

dt

c

=

-

òò



[image: image23.wmf]33

333

3

mmgmmg

2050070020 

11

dLdL

ln

mmmgmmg

1400 m

7002050070015 

ddLdL

t

æö

æö

-

ç÷

ç÷

èø

=-

ç÷

æö

ç÷

-

ç÷

ç÷

èø

èø



[image: image24.wmf]3

d

0.000615

m

=



[image: image25.wmf](

)

3

3

d

1400 m0.0006150.862 d20.7 hr

m

t

æö

===

ç÷

èø


4. The graph below shows the results of some jar tests for coagulation of a water supply. The data are for the turbidity after adding the alum, mixing for 5 min, and allowing the suspension to settle for 30 min. As indicated, the dosages are based on a chemical formula of Al2(SO4)3 for alum.

(a) At what alum dosages, or over what ranges of dosages, do you think the particles carry a negative surface charge?

(b) Two good choices for the dosage appear to be 10 and 55 mg/L. List one advantage and one disadvantage of using the higher dosage.

(c) A plant has been operating at the lower of the two optimal dosages, but a new operator has decided that it would be better to operate at the higher dose. How much additional sludge (mg of sludge per liter of water treated) will be produced when the switch is made?

[image: image26.emf]0

1

2

3

4

5

6

7

8

9

10

0 10 20 30 40 50 60

Alum Dose (mg/L Al

2

(SO

4

)

3

)

Turbidity (NTU)


Answer. (a) The particles are likely to be negatively charged in their natural state. Addition of alum gradually neutralizes those charges. When the charges are approximately fully neutralized, the particles coagulate. This occurs at an alum dose of ~10 mg/L. At higher doses, the particles acquire a positive surface charge and the suspension is restabilized, and at higher doses still, sweep flocculation occurs. However, at no dose greater than about 10 mg/L do the particles again become negatively charged.

(b) The higher dose is in the range of sweep flocculation, and good performance in terms of turbidity removal is pretty much assured; overdosing coagulant in this region has no adverse effects on water quality. On the other hand, the cost of the additional chemicals and the cost associated with the requirement to dispose of more sludge can be significant.

(c) The incremental addition to go from the lower acceptable dose to the higher acceptable dose is 46 mg/L of Al2(SO4)3. When this coagulant is added to water, it precipitates as Al(OH)3(s); the relevant reaction is:

Al2(SO4)3  +  6 OH  (  2 Al(OH)3(s)  +  3 SO42
The molecular weights of Al2(SO4)3 and Al(OH)3(s) are 342 and 78, respectively. Noting that two moles of Al(OH)3(s) are formed for each mole of Al2(SO4)3 added, the sludge formation can be calculated as follows:

[image: image27.wmf](

)

(

)

24333

243

2x78 mg AlOH formedmg AlOH

Additional

mg Al(SO)

4621

sludge generated

L342 mg Al(SO) addedL

æö

æö

æö

==

ç÷

ç÷

ç÷

èø

èø

èø


5. Indicate how the following changes would alter the performance of a sedimentation basin (improve, make worse, no effect). For each part, give separate answers for Type 1 and Type 2 suspensions. Briefly explain your reasoning.

(a) Doubling the flow rate and the length of the basin, but not changing the width or depth.

(b) Doubling the flow rate and depth of the basin, but not changing the length or width.

Answer. (a) Removal efficiency of discrete settling particles depends only on the overflow rate, Q/A. Doubling flow rate and length leads to a system with the same overflow rate, so the change has no effect on removal of discrete settling particles.

Removal efficiency of flocculant particles depends on the overflow rate and the residence time (td). Doubling flow rate and length does not change either of these parameters, so the change has no effect on removal of flocculant particles.

(b) As noted in part a, the removal efficiency of discrete settling particles depends only on the overflow rate, Q/A. Doubling the flow rate and depth of the basin increases Q but has no effect on A, so the overflow rate increases, causing the removal efficiency to decline.

The increased overflow rate would lead to a decline in removal efficiency of Type 2 particles, just like it does for Type 1. However, the decline would not be as severe (and in rare cases might not even occur), since increased residence time tends to increase removal efficiency for Type 2 particles.

6. Shown below is a histogram describing the settling velocities of non-flocculating particles in a water supply. The number under each bar indicates the value of vs at the end of range, e.g., the first bar represents particles with settling velocities between 0 and 0.2 cm/min. As you can see, the distribution has two distinct portions; about 50% of the suspended solids are included in each portion.

[image: image28.wmf] 

0

5

10

15

20

25

0.2

0.4

0.6

0.8

1.0

1.2

1.4

1.6

1.8

2.0

2.2

2.4

2.6

2.8

3.0

3.2

3.4

3.6

3.8

4.0

Settling Velocity v

s

, cm/min

Concentration of particles with 

settling velocity in given range, mg/L


(a) On the blank graph provided (next page), sketch a plot of f (the fraction of particles with settling velocity less than v) vs. v for this system.

(b) If you designed a settling basin with vcrit = 2.0 cm/min, would significantly less than half, about half, or significantly more than half of the suspended solids be removed? Explain briefly.

[image: image29.emf]0.0

0.1

0.2

0.3

0.4

0.5

0.6

0.7

0.8

0.9

1.0

0.0 0.5 1.0 1.5 2.0 2.5 3.0 3.5 4.0

Velocity, 

v

 (cm/min)

Fraction with Settling Velocity < 

v


Answer. (a) The exact plot is shown below, although a rough sketch was satisfactory to receive full credit. The main features I was looking for were the two steep portions separated by a relatively flat region in the middle, reflecting the high concentrations represented by the two “humps” of the histogram, and the small number of particles in intermediate range of settling velocities.

[image: image30.emf]0.0

0.1

0.2

0.3

0.4

0.5

0.6

0.7

0.8

0.9

1.0

0.0 0.5 1.0 1.5 2.0 2.5 3.0 3.5 4.0

Velocity (

v

), cm/min

Fraction of Particles with Settling 

Velocity <

v


(b) If vcrit is 2.0 cm/min, all particles with vs greater than 2.0 cm/min will be removed in the basin. These particles account for about 50% of the total, so their removal accounts for 50% overall removal. In addition, a substantial fraction of the particles with velocities less than vcrit will also be removed (if they enter near the bottom). Therefore, the overall removal will be substantially greater than 50%.

7. A settling velocity distribution for a Type 1 suspension is shown below. This suspension is passed through a settling basin that is 30 m long and 8 m wide, and is filled to a depth of 2.8 m. The flow rate through the basin is 3.0 m3/min, and the total particle concentration entering the system is 7.0 mg/L. What concentration of particles would you find in a sample that was collected at the effluent end of the tank, from a depth of 2.0 m below the water surface?

[image: image31.wmf]0

1

2

3

4

5

6

7

8

0.0

0.2

0.4

0.6

0.8

1.0

1.2

1.4

1.6

1.8

2.0

Velocity 

v

 (cm/min)

Concentration with 

v

s

<

v

 (mg/L)

 


Answer. The hydraulic detention time in the settling basin is V/Q, or:


[image: image32.wmf](

)

(

)

(

)

3

30 m8 m2.8 m

224 min

3.0 m/min

d

V

t

Q

===


For particles to remain in a water sample taken at a depth of 2.0 m at the effluent end of the tank, they would have to fall a distance of less than 2.0 m in time td, i.e., less than 2.0 m in 224 min. Thus, their velocity would have to be less than 200 cm/224 min, or 0.89 cm/min. From the settling distribution curve, approximately 2.6 mg/L of particles in the suspension have velocities less than this value, so that is the concentration of particles that will be present in the sample.

8. Below is a plot showing the results of a column settling test, in terms of isopleths of constant percentage removal. The test lasted 3 hours. Estimate the fraction of the particles that had an average settling velocity less than 0.5 cm/min during the first two hours of the test.

[image: image33.wmf]0

20

40

60

80

100

120

140

160

180

200

0

15

30

45

60

75

90

105

120

135

150

165

180

Time (minutes)

Depth (cm)

10%

25%

40%

60%

75%

85%

 


Answer. Particles that had an average settling velocity of 0.5 cm/min would have fallen 60 cm in two hours. On the graph provided, the point (120 min, 60 cm) falls just slightly above the isopleth for 75% removal. Thus, about 76% of the particles fell at average velocities greater than or equal to 0.5 cm/min, so 24% must have fallen at average velocities less than that value.

Well mixed core, c1


V1 = 80 m3





Secondary zone, c2; V2 = 20 m3





Q = 5 m3/min





q = 0.1 m3/min





cin = 15 mg/L








PAGE  
9

_1168184310.unknown

_1168516327.unknown

_1168516405.unknown

_1168516507.unknown

_1168516617.unknown

_1199362604.unknown

_1169997352.unknown

_1168516533.unknown

_1168516449.unknown

_1168516387.unknown

_1168516393.unknown

_1168516355.unknown

_1168184416.unknown

_1168184417.unknown

_1168184321.unknown

_1168184415.unknown

_1168180128.unknown

_1168180728.unknown

_1168181019.unknown

_1168184239.unknown

_1168180992.unknown

_1168180431.unknown

_1168180055.unknown

_1168180098.unknown

_1168177833.unknown

_1138014751.unknown

